| The University of Jordan School of Engineering Department of Electrical Engineering 1st Semester – A.Y. 2014/2015 |  |
| --- | --- |
| Course: | Electrical Power Lab 0903489 (1 Cr. – Core Course). |
| Instructor: | EngZiad R. Al-Khatib Office: E201, Telephone: 5355000 ext 22877, Email: zkhatib203@yahoo.com Office Hours: will be posted soon |
| Course Website: |  |
| Catalog Data: | Voltage distribution over a string of suspension insulators. I-t fuse characteristic. Measurement of symmetrical components in unbalanced systems. Transmission line parameters, Power flow relations at the ends of transmission lines. Earthing of power system neutral. Instantaneous O/C and O/V relays. Power system Network analyzer. Comparison of the characteristics of static and electromechanical relays. Characteristics of time lag O/C relays. Differential relays. Directional relays. Network analyzer, Power system load flow. |
| Prerequisites by Course: | EE 0903482 – Power System Analysis (2) [pre-requisite or co-requisite] |
| Prerequisites By Topic: | Student should have a background of the following topics: Electrical circuit analysis. Electrical measuring instruments applications. Power system analysis. Resistors, capacitors and inductors high power elements. Electromagnetic circuits. |
| Textbook: | Lab. Manual prepared by the supervisor. |
| References: | Power System Analysis. J. J. Grainger & W. D. Stevenson (1994). MC-Graw Hill. Power System Protection Volumes 1, 2 & 3. Edited by Electricity Council – UK. Macdonald Power Generation, Operation & ControlBy A. J. Wood & B. F. WollenbergJohn Wiley Power System Analysis H. Saadat (1999) Mc-Graw Hill. |
| Schedule & Duration: | 16 Weeks, 10 Labs (3 hours each) plus exams. |
| Minimum Student Material: | Lab. Manual, Lab. Handouts, Basic scientific calculator, and an access to personal computer. |
| Minimum College Facilities: | Laboratory. and computational facilities. Classroom with white/blackboard and projection display facilities, library, and computational facilities |
| Course Objectives: | this course is to provid The overall objective is to provide the student with the basic experience in some aspects of the power systems. The student will be able to Relate the theoretical knowledge gained from his study of two power courses to the practical application in the lab. acquitted with power devices and instruments and appreciate difference between ideal and practical Compare results calculated theoretically with that obtained from measurements. |

| Course Learning Outcomes and Relation to ABET Student Outcomes: |
| --- |
| Upon successful completion of this course, a student should: |
| 1. | Understand how the voltage is distributed over a string of suspension insulator and how it can be practically equalized. | [b,d] |
| 2. | Determine the I-t characteristics of a wire fuse in the overcurrent zone. | [b,d] |
| 3. | Measure the zero, positive and negative sequence currents in a 3-phase unbalance system [b]. | [b,d] |
| 4. | Determine the A, B, C & D constants of a short and medium transmission and to investigate voltage, current, and power relations at both ends under no load and full load conditions with and without shunt compensation. | [b,d] |
| 5. | Assess the merits of different grounding schemes of power system neutral and investigates how the voltages and current are affected by the method of earthing. | [b,d,k] |
| 6. | Study the operational characteristics of overcurrent and overvoltage relays. | [b,d] |
| 7. | Study the difference between the response of static and electromechanical relay from the points of view of operating and resetting values, power consumption and response to DC components. | [b,d] |
| 8. | Determine the relation between the plug setting multiplier and time for operation for different time setting multipliers for a definite minimum time lay overcurrent relay. | [b,d k] |
| 9. | Obtain the I-t characteristics of a directional overcurrent relay and investigate the effect of phase angle and voltage variations. | [b,d] |
| 10. | Study of principle of operation of a differential relay as applied for transformer protection. | [b,d,k] |
| 11. | Use Network Analyzer to simulate the electrical power system for a given power system | [b,d] |

| Course Topics: |
| --- |
|  | Topic Description | Hrs |
| 1. | Voltage distribution over a string of suspension insulators I- t characteristic of a wire fuse in the overcurrent zone. | 1.5 |
| 2. | Measurement of symmetrical components of current in unbalanced systems. | 1.5 |
| 3. | Current, voltage and power relation across a transmission line | 3 |
| 4. | Grounding of power systems. | 3 |
| 5. | Instantaneous overcurrent and overvoltage relays. | 3 |
| 6. | Comparison of static relays and electromechanical relays. | 3 |
| 7. | Time-lag overcurrent relays. | 3 |
| 8. | Directional overcurrent/power relay with inverse time characteristics. | 3 |
| 9. | Differential protection of transformer | 3 |
| 10. | Load flow study | 3 |

| Ground Rules: | Class attendance will be taken and the University policy on absence shall be applied. |
| --- | --- |
| Assessments: | Reports, quizzes, assignments and quizzes. |
| Grading policy: | Course work Reports and quizzes 10 % 20% Midterm Exam 30 % Final Exam 40 % Total 100% |
| Last Updated: | October 2014 |