Basic Safety Rules

Basic safety rules for laboratory conduct should be observed whenever working in a laboratory. Many of the most common safety rules are listed below.

- Know locations of laboratory safety showers, eyewash stations, and fire extinguishers. The safety equipment may be located in the hallway near the laboratory entrance.

- Know emergency exit routes.

- Avoid skin and eye contact with all chemicals.

- Minimize all chemical exposures.

- No horseplay will be tolerated.

- Assume that all chemicals of unknown toxicity are highly toxic.

- Post warning signs when unusual hazards, hazardous materials, hazardous equipment, or other special conditions are present.

- Avoid distracting or startling persons working in the laboratory.

- Use equipment only for its designated purpose.

- Combine reagents in their appropriate order, such as adding acid to water.

- Avoid adding solids to hot liquids.

- All laboratory personnel should place emphasis on safety and chemical hygiene at all times.

- Never leave containers of chemicals open.

- All containersmust have appropriate labels. Unlabeled chemicals should never be used.

- Do not taste or intentionally sniff chemicals.

- Never consume and/or store food or beverages or apply cosmetics in areas where hazardous chemicals are used or stored.

- Do not use mouth suction for pipetting or starting a siphon.

- Wash exposed areas of the skin prior to leaving the laboratory.

- Long hair and loose clothing must be pulled back and secured from entanglement or potential capture.

- No contact lenses should be worn around hazardous chemicals – even when wearing safety glasses.

- Laboratory safety glasses or goggles should be worn in any area where chemicals are used or stored. They should also be worn any time there is a chance of splashes or particulates to enter the eye. Closed toe shoes will be worn at all times in the laboratory. Perforated shoes or sandals are not appropriate.

- Determine the potential hazards and appropriate safety precautions before beginning any work.

- Procedures should be developed that minimize the formation and dispersion of aerosols.

- If an unknown chemical is produced in the laboratory, the material should be considered hazardous.

- Do not pour chemicals down drains. Do NOT utilize the sewer for chemical waste disposal.

Basic Safety Rules

- Keep all sink traps (including cup sink traps and floor drains) filled with water by running water down the drain at least monthly.

- Do not utilize fume hoods for evaporations and disposal of volatile solvents.

- Perform work with hazardous chemicals in a properly working fume hood to reduce potential exposures.

- Avoid working alone in a building. Do not work alone in a laboratory if the procedures being conducted are hazardous.

- The PEL and the Threshold Limit Values (TLV) will be observed in all areas. If exposure above a PEL/TLV is suspected for an ongoing process, please contact EHS immediately.

- Laboratory employees should have access to a chemical inventory list, applicable SDSs, Department Laboratory Safety Manual, and relevant SOPs.

- Access to laboratories and support areas such as stockrooms, specialized laboratories, etc. should be limited to approved personnel only.

- All equipment should be regularly inspected for wear or deterioration.

- Equipment should be maintained according to the manufacturer’s requirements and records of certification, maintenance, or repairs should be maintained for the life of the equipment.

- Designated and well-marked waste storage locations are necessary.

- No cell phone or ear phone usage in the active portion of the laboratories, or during experimental operations.

- Clothing made of synthetic fibers should not be worn while working with flammable liquids or when a fire hazard is present as these materials tend to melt and stick to exposed skin.

- Laboratory coats should not be stored in offices or break rooms as this spreads contaminates to other areas.

- Computers and instrumentation should be labeled to indicate whether gloves should be worn or not. Inconsistent glove use around keyboards/keypads is a source of potential contamination.

- Avoid wearing jewelry in the lab as this can pose multiple safety hazards.